## Slide 1
FATIMA DESPEC TDR
IDS experiments
L.M. Fraile on behalf of FATIMA collaboration
Grupo de Física Nuclear, Dpto. Física Atómica, Molecular y Nuclear, Universidad Complutense, E-28040 Madrid, Spain

## Slide 2: Facility for Antiproton and Ion Research
Primary Beams
1012/s; 1.5 GeV/u; 238U28+
1010/s 238U73+ up to 35 GeV/u
3x1013/s 30 GeV protons
Secondary Beams
Storage and Cooler Rings
radioactive beams
1011 antiprotons 1.5 - 15 GeV/c,
stored and cooled
range of radioactive beams up to 1.5 - 2 GeV/u; up to factor 10 000 higher in intensity than “presently”
antiprotons 3 - 30 GeV
Rare-Isotope
Production Target
SuperFRS
SIS100/300
NUSTAR
Notes: FAIR will be an excellent place where to study the decay properties of the UNEXPLORED neutron rich side of the nuclide chart.

## Slide 3: Predicted production rates
FAIR CDR
Half-lives > 100 ns

## Slide 4: A physics “case”: N = 126
even-even 2+ & 4+ systematics
r-process path half-lives
Pn values, beta-delayed neutrons
Beta-decay: FF νi13/2  πh11/2 dominating; GT νh9/2  πh11/2
role of first forbidden transitions
Isomers
Transition rates

## Slide 5: Transition rates – electronic timing
Sn
S2n
S3n
AZ
A(Z+1)
A-1(Z+1)
A-2(Z+1)
A-3(Z+1)
β-
Qβ
γ
n
Absolute transition rates

## Slide 6
October 2014
TDR to be submitted by
31 March 2015
Combined with the fast ion
active stopper: AIDA
FATIMA TDR
HISPEC_DESPEC.1.2.2.15 FATIMA

## Slide 7: Technical specifications and design details
Choice of crystal type
  Development of LaBr3:Ce
  Doping (size, shape)
  Other options considered: CeBr3
    Timing and linearity Good time resolution of (119±2) ps at 60Co
  Efficiency simulation and measurement
Choice of photosensor
  PMT selection and development
  SiPMs

## Slide 8: Technical specifications and design details
Selection of crystal shape and detector evaluation

## Slide 9
Technical specifications and design details
O.J. Roberts, A.M. Bruce et al., NIM A 2014
Cross + 45º
1.5x2”
CRT ~ 210 ps
FWHM (60Co)
Cross
1.5x2”
CRT ~ 210 ps
FWHM (60Co)
Ball array
(“hybrid”)
CRT ~ 160 ps
FWHM (60Co)
V. Vedia et al.
Efficiency array
Summary of Monte Carlo simulations

## Slide 10: Geant4 simulations
O.J. Roberts, A.M. Bruce et al., NIM A Feb 2014, accepted, http: //dx.doi.org/10.1016/j.nima.2014.02.037
  Studsvik “hybrid”
  1.5” x 1.5” cyl.
  1.5” x 2” cyl.
Efficiency for 1 ring

## Slide 11
Background and shielding
Beta detection
Layout of the fast timing array
Technical specifications and design details
STFC, UK

## Slide 12: Technical specifications and design details
Electronics and Data Acquisition System
  Dynode (E) + Anode (t)
  CAEN V1724 100 MHz digitizers, V1751 1 GHz for E
  Analog ORTEC: CFD 935 + TDCs
  CFD
    V1290 TDC (25 ps LSB)
    Use of TRB3: a 264 ch “high-precision” TDC at GSI
    Mesytec 10 ps TDCs

## Slide 13: Technical specifications and design details
Digitizing algorithms
  tests
Analysis methods
J.-M. Régis et al., Nucl. Instrum. Methods A726 (2013) 191

## Slide 14
Previous prototypes and test experiments
  ROSphere
  A mixed array of EXOGAM and FATIMA detectors at ILL
Radiation environment and safety issues
Production, quality assurance and acceptance tests
Calibration with test beams
Civil engineering and cave
Installation procedure and logistics

## Slide 15
HISPEC_DESPEC.1.2.2.15 FATIMA
FATIMA
36 UK cylindrical detectors
12 conical detectors
  Electronic chains
To be submitted soon

## Slide 16
ISOLDE Decay Station experiments

## Slide 17
HPGe
LaBr3(Ce)
BaF2
ISOLDE beam
Fast 
Compact setup
HPGe:
High energy resolution
Poor time response
TIMING
LaBr3(Ce): Fast response γ-detectors / poor energy resolution
Plastic  scintillator: Fast response / efficient start detector
βγγ(t) setup
ISOLDE
Lohengrin - ILL
Notes: Fast timing detectors were prepared at the OSIRIS separator at Studsvik; timing equipment in part from the Fast Timing Pool of Electronics.

## Slide 18
IDS in the ISOLDE hall
ISOLTRAP
NICOLE
IDS
Frame Osiris IFIN Bucharest
Tape station KU Leuven
2 clovers IFIN Bucharest
2 clovers KU Leuven
LaBr3 (Ce) detectors UCMadrid / IFIN Bucharest
Beta detectors

## Slide 21
Study of octupole deformation in n-rich Ba isotopes populated via β decay (IS579)
Core breaking and octupole low-spin states in 207Tl (IS588)
Characterization of the low-lying 0+ and 2+ states of 68Ni (IS590)
Beta-3p spectroscopy and proton-gamma width determination in the decay of 31Ar (IS577)
Beta-decay study of neutron-rich Tl and Pb isotopes (IS584)
IDS experiments 2015

## Slide 23
Structure of 129Sn
Clovers + fast timing LaBr3(Ce) detectors
  129Sn – semi-magic three neutron hole system
  Long-lived state is predicted: accessible via fast-timing
[Razvan Lica]
  Calculations available (A. Gargano)
H. Gausemel et. al, PRC 69, 054307 (2004)

## Slide 24
Calculations available
Shell model (A. Gargano)
  132Sn core
  CD – Bonn
  ESPs from 131Sn
  effective charges and g-factors from Danchev et al.
    E(1/2+) = 294 keV
    3s1/2 → 2d3/2 M1 l-forbidden: matrix element ~ 0
    T1/2 ~ 4 ns

## Slide 25
Measurements
September 2014: First fast-timing experiment at IDS
129In pure beam
Modified setup
CFD + TAC timing
Dynode energies
Gain matching
Nutaq (+Grain + MIDAS

## Slide 26
Analysis
[Razvan Lica + Henryk Mach]

## Slide 27
There is no indication of a long lived component in the beta-gated LaBr3(Ce) timing spectrum
The preliminary centroid shift
analysis yields T1/2 < 40 ps limit
A slightly different from zero M1 effective operator for neutron holes greatly improves the agreement without changing any other matrix elements:
  <d3/2| M1| s1/2> - already known for proton particles (~0.14)
  unknown for neutron holes in the 132Sn region
Possible first estimate from our measurement
Preliminary results – conclusion

## Slide 28
IS590 collaboration
Analysis by Razvan Lica [CERN]

## Slide 29
In memoriam
14 March 1952 – 15 December 2014