## Slide 1: Recent results of fast-timing experiments in Grenoble
Gary Simpson
University of the West of Scotland

## Slide 2: Fast-timing from below isomers ion-g-g
Use selectivity of spectrometer + isomer decay
Know what isomer is
1
2
T1/2
start
stop
TAC
ms

## Slide 3: Example of results (Thesis of M. Rudigier IKP 2014)

## Slide 4: In-beam experiments EXILL+ FATIMA (neutron beam) –see Nuclear Physics News
Energy (keV)
log counts

## Slide 5
Electronics setup
16 detectors, 15 TACs
Detector
RC
V1724
Energy
dynode
Fan in-out
TAC
start
stop
Fan in-out
delay
to
other TACs
other detectors
V1724
time
anode
All energy and TAC signals were recorded in time-stamped free format

## Slide 6
100Zr

## Slide 7: 99Zr
Pietro Spagnoletti, UWS

## Slide 8: beta detector LPSC Grenoble (G. Simpson, G. Gey, J. F. Muraz, A. Pellisier)
Need good time resolution for b-g timing
  Scintillating fibre optics (radiation hard)
  DSSSDs expensive –really needed for some FATIMA experiments?
Current position resolution ~3 mm
Or use DSSSDs + fast plastics stacks

## Slide 9: Pulse-shape analysis
Energy
5 GHz Caen V1742
NuPNET funding 2012

## Slide 10
Implement digital CFD
Delay=10
Frac=0.8

## Slide 11
Digital LE algorithm
~45 % worse than analogue

## Slide 12
LSO crystals

## Slide 13: Conclusions
Have performed fast-timing measurements of many states populated from isomeric decay
Developed fast-timing digital algorithms
Developing position-sensitive b detector
First results from fast-timing from prompt fission
Thanks to many people –FATIMA collaboration