## Slide 1
A hybrid LaBr3-Ge array for fast timing spectroscopic studies at the IPN Orsay
J.N. Wilson1, P.H.Regan2,3 ,G. Georgiev4, I. Matea1, D. Verney1, M. Lebois1, P. Halipre1, L. Qi1, A. Gottardo1, J. Ljungvall4, Zs.Podolyak2, S.M.Judge2,3, R. Shearman2,3, R. Carroll2, M. Rudigier2, A.Pearce3, G.Lorusso2,3, A.M. Bruce5, N. Marginean6, T. Kroell7, S. Ilieva7, A. Ignatov7, G. Fernandez7, V. Werner7, L.M. Fraile8,
V. Vedia8, J. Jolie9, J.M. Regis9, W. Korten10, J.F. Smith11, P.M. McKee11, E. Parr11, M. Smolen11, S.Lalkovski2,12,S. Kisyov12, A. Görgen13, S.Siem13, K. Hadynska-Klek 13, E. Sahin13A. Oberstedt1,14,
G. Smith15,R. Lozeva16,S. Oberstedt17
1Institut de Physique Nucléaire Orsay ,France
2Department of Physics, University of Surrey, UK
3National Physical Laboratory,Teddington, UK
4CSNSM Orsay, France
5University of Brighton, UK
6IFIN-HH. Maguerele, Bucharest, Romania
7TU Darmstadt, Germany
8U. Complutense, Madrid, Spain
9IFK- Köln, Germany
10CEA Saclay, France
11Universiyt of West of Scotland, Paisley, UK
12 University of Sofia, Bulgaria
13 University of Oslo, Norway
14 Chalmers University, Sweden
15 University of Manchester, UK
16 IPHC Strasbourg, France
17European Commission JRC-IRM, Geel, Belgium

## Slide 2
The ALTO facility of the IPN Orsay

## Slide 3: the ALTO facility beams
ISOL beams:
b-decay
LASER spectroscopy…
Nuclear Astrophysics:
Split-Pole
Nuclear Reactions:
Bacchus
g Spectroscopy:
ORGAM
Clusters

## Slide 4
Diverse beams from protons to heavy ions (e.g. 127I)
Beams of 48Ca and 14C available
Atomic clusters (e.g. C60)
IPN Orsay ALTO facility 15 MV tandem accelerator

## Slide 6
ORGAM @ ALTO, IPN ORSAY

## Slide 7: The ROSPHERE Gamma-ray Spectrometer array (at IFIN-HH Bucharest)
14 HPGe detectors (AC) are used to detect coincident γ rays:
  7x HPGe dets. @ 37o
  4x HPGe dets. @ 64o
  3x HPGe dets. @ 90o
11 LaBr3(Ce:5%) detectors
  7x ø2”x2” and 4x ø1.5”x2” (Cylindrical) @ 37, 64 and 90o w.r.t. the beam axis.

## Slide 8: Neutron production in inverse kinematics
n
n
n
n
H target
100nA 7Li
13-17 MeV
Lithium Inverse Cinematiques ORsay NEutron source
p(7Li,7Be)n reaction in inverse kinematics
Focused source of fast neutrons between 0.5 and 4 MeV
γ
γ
Sample

## Slide 9: LICORNE II
Hydrogen gas cells
H2 pressure and low control system

## Slide 10: Neutron supression at 90 degrees
n
n
n
n
H target
100nA 7Li
17 MeV
1.5 m
1.5 m
NE213
NE213

## Slide 11: LICORNE FLUXES
107 n/s/cm2
~ 90 kHz fission rate for 30g 238U sample
0.5 < En < 2.6 MeV

## Slide 13
Miniball data set: ~ 5 x 109 Mγ >= 3 events in two weeks

## Slide 15
400 ns
Prompt peak

## Slide 16
Fission Fragment Isomers (10ns - 10µs)

## Slide 17
149Pm

## Slide 18
87,88,89Ga
149Pmm

## Slide 20
TIPS – Tagging Isomer PartnerS

## Slide 21
400 ns
Prompt peak

## Slide 22
T1/2 ~ 170ns

## Slide 26
138Ba 0.8μs Isomer
*
*
*
New Isomer in 138Ba?

## Slide 27
138Ba Partners
To be continued…
96Kr
98Kr

## Slide 28: Experimental Setup: Energy dependence of prompt-g emission. July 2013

## Slide 29: Multiplicity Versus Energy Discrimination: 60Co

## Slide 30: Multiplicity Versus Energy Discrimination: 252Cf
FISSION events
(n,n’)
Intrisic activity

## Slide 31: Prompt Fission GAMMA from 252Cf USING THE BaF2 CALORIMETER

## Slide 32
238U(n,f) or 232Th(n,f) reactions to study neutron rich fission fragments
Cold fission (En ~ 1.5 MeV or En ~ 2.5 MeV with 11B beam)
Lifetime measurements in hundreds of exotic nuclei
Excellent selectivity of fission fragments and their partners via isoler tagging from 1 – 50ns
Calorimeter (Ω > 50%) + beam buncher would allow very clean multiplicity/sum-energy tag on fission events
Ge-LaBr3 hybrid array + LICORNE

## Slide 33
Detectors: ~20 Ge (Gamma pool + loan pool Orsay) and/or others (max ~64)
Minimum 36 LaBr3 guaranteed by FATIMA collaboration (max ~50)
Mechanics: Use/fusion of exisiting mechanical structure(s) whenever possible
Electronics: Needs investment in dedicated digital DAQ (fast timing + high energy resolution)
Time Frame: First experiments mid-to-late 2016
Campaign Duration: ~6 Months
Workshop to be held at the end of 2015 to discuss physics cases
ν-ball
A hybrid LaBr3-Ge array for fast timing spectroscopic studies
at the IPN Orsay

## Slide 34
LICORNE Inverse Kinematics Curves

## Slide 35
Evolution and collectivity development in the vicinity of 78Ni (D. Verney)
Shape coexistence and collectivity around N=60 (M. Zielinska)
Neutron-rich nuclei around and beyond 132Sn (R. Lozeva)
Spectroscopy of neutron-rich fragments of 40<Z<50 (A. Gottardo)
238U(n,f) physics cases using LICORNE + Miniball